《分析化学（一）（下）》课程教学大纲

课程代码：CHEM2036

课程类别：基础课程

授课对象：化学类 专业

开课学期：春季

学    分：3学分

主讲教师：吴莹

指定教材：Douglas A. Skoog, Donald M. West, F. James Holler, Stanley R. Crouch《Fundamentals of Analytical Chemistry》Brooks Cole; 8 edition (August 7, 2003)

一、教学目的：

分析化学是化学专业类学生的主要基础课之一，它的理论知识和方法不仅是分析化学研究的基础，也是从事化学教育、化学、生物、地质、环境、材料等学科工作的基础。学习本课程的目的，在于使学生掌握定量及仪器分析的基本原理、基础知识和基本操作，培养学生实事求是的科学态度，建立起严格的“量”的概念，培养学生具有从事相关的理论研究与实际应用能力。

二、课程内容

Chapter 13 Introduction on chromatography

课时：1周，共3课时

Content

13.1 chromatographic methods and classification

Teaching Outline: History and development; stationary phase and mobile phase; classification;

13.2 chromatogram and Nomenclature

Teaching Outline: Basic concepts, baseline, dead time, retention time, retention volume, adjusted values, peak width; information obtained from a chromatogram

13.3 basic principles for chromatography

Teaching Outline: Distribution process and distribution constant; capacity factor/retention factor; selectivity factors; related retention value; basic retention equation; plate theory, plate number and plate height; rate theory; separation resolution; basic separation equation

Chapter 14 Gas Chromatography

课时：2周，共4课时

Content

14.1 Instrumentation of gas chromatography

Teaching Outline: The construction, four subsystems: carrier gas, sample injection system, columns and temperature control system; programmed temperature control

14.2 detectors for gas chromatography

Teaching Outline: Classification of detectors; standard for a good detector; thermal conductivity detector; flame ionization detector; electrode capture detector and flame photometery detector, their properties and applications

14.3 packed column gas chromatography

Teaching Outline: Classification of stationary phase; Kovats constants; McReynolds constants; widely used stationary phases; bonded and cross-linked stationary phases; basic principle for chiral separation;

14.4 open tubular chromatography

Teaching Outline: The advantages and disadvantages of open tubular columns; classification of open tubular columns; wall-coated open tubular column and porous-layer open tubular column; comparison with packed columns

14.5 qualitative and quantitative analysis

Teaching Outline: Qualitative analysis, by retention value, GC-MS; quantitative analysis, peak area, internal standard; standard calibration curve

14.6 application of gas chromatography

Teaching Outline: Same examples of the application

Chapter 15 High Performance Liquid Chromatography and Supercritical Fluidic Chromatography

课时：2周，共4课时

Content

15.1 mobile and stationary phase in liquid chromatography

Teaching Outline: Effect of particle size of packing; requirement on mobile phases

15.2 instrumentation of liquid chromatography

Teaching Outline: Construction of the instrument; commonly used detectors, ultraviolet detector, fluorescence detector, refractive index detector and electrochemical detector

15.3 liquid-solid chromatography

Teaching Outline: The basic principles; commonly used stationary phase and mobile phase;

15.4 bonded-phase chromatography

Teaching Outline: Preparations of bonded-phase columns; Normal- and reverse-phase packing, properties and applications;

15.5 ion-exchange chromatography

Teaching Outline: Basic principle of ion-exchange chromatography; stationary phase and mobile phase; the instrumentation and process;

15.6 size-exclusion chromatography

Teaching Outline: Basic principle of size-exclusion chromatography;,; gel filtration chromatography and gel permeation chromatography;, the stationary and mobile phase;

18.7 supercritical fluid chromatography

Teaching Outline: Basic principle of supercritical fluid chromatography; the instrumentation; stationary and mobile phases; commonly used detectors for SFC; applications

Chapter 16 introduction on spectroscopy

课时：2周，共6课时

16.1 basic of electromagnetic radiation

Teaching Outline: Wave properties of electromagnetic radiation; electromagnetic spectrum; quantum-mechanical properties of radiation and photoelectric effect;

16.2 interactions of matter and light

Teaching Outline: Absorption, emission, scattering, refraction, reflection and diffraction;

16.3 Spectroscopic method

Teaching Outline: Absorption and emission spectroscopy; instrumentation for spectroscopy; source of radiation, continuum sources, line sources and laser sources; wave length selectors, filters, prism and grating monochromators, monochromator slits; radiation transducers; barrier-layer photovoltaic cells, vacuum phototubes, photomultiplier tubes; multichannel phototransducers,photodiode arrays, charge-coupled devices, charge-transfer devices; thermal transducers, thermal couples and bolometers

Chapter 17 Atomic Emission Spectroscopy

课时：2周，共6课时

Content

17.1 basic principles of Atomic emission spectroscopy

Teaching Outline: Origin of the spectrum; intensity of the spectrum lines; atomic line width; line broadening from the uncertainty effect; the effect of temperature

17.2 AES instrument

Teaching Outline: Inductively coupled plasma source, sample introduction, plasma appearance and spectra, analyte atomization and ionization; characteristics of Arc and spark sources; glow-discharge, laser based AES systems, direct plasma and microwave-induced plasma

17.3 Application of AES

Teaching Outline: Qualification with AES, quantitative and semi-quantitative detection with AES; Doppler, pressure, electric and magnetic field, self-absorption broadening; self-reversal

Chapter 18 Atomic Absorption Spectroscopy

课时：2周，共6课时

Content

18.1 basic principles of Atomic absorption spectroscopy

Teaching Outline: The process of AAS, resonance line and absorption line,; the number of ground atom and temperature of the flame; quantitative analysis with AAS

18.2 instrumentation for AAS

Teaching Outline: Primary radiation source, hollow cathode lamp and electrodeless discharge lamp; flame and electrothermal atomizer; the optical dispersive system; detectors and signal measurements

18.3 measurements and interferences

Teaching Outline: Quantitative measurements; spectral, chemical, and physical interferences; Zeeman effect

18.4 AAS method and its application

Teaching Outline: sensitivity and detection limit; characteristic sensitivity ,characteristic concentration and characteristic mass; standard calibration curve and standard addition;

18.5 atomic fluorescence

Teaching Outline: The process of atomic fluorescence, the intensity of atomic fluorescence; atomic fluorometer

Chapter 19 Ultraviolet-Visible Absorption Spectroscopy

课时：2周，共6课时

Content

19.1 basic principles of Ultraviolet-visible absorption spectroscopy

Teaching Outline: the process of Ultraviolet-visible absorbance; the magnitude of molar absorptive molecular absorbing species and electron transition; absorbance of organic compound; absorption by inorganic species; the effect of slit width; detection of functional groups

19.2 Law of absorption

Teaching Outline: Lambert-Beer’s law and absorptivity; apparent deviation from Beer’s law

19.3 Instrumentation

Teaching Outline: Components of the instrument, sources, monochromators, sample containers and photon detectors; types of spectrophotometer, single-beam system, double-beam-in-space and double-beam-in-time spectrometer;diode-array instrument

19.4 application of UV-Vis absorption spectroscopy

Teaching Outline: Application in qualitative analysis; quantitative analysis; application to absorbing and nonabsorbing species; procedural details, selection of wavelength, variables that influences absorbance; analysis of mixtures of absorbing substances; double-wavelength spectroscopic method; standard addition method; derivative spectroscopy

Chapter 20 molecular Luminescence Spectroscopy

课时：1周，共3课时

Content

20.1 molecular fluorescence and phosphorescence

Teaching Outline: Theory of fluorescence and phosphorescence; excited states producing fluorescence and phosphorescence,electron spin, single and triplet excited states; energy-level for photoluminescence molecules; deactivation processes, vibrational relaxation, internal conversion, external conversion, intersystem crossing, photophorescence; quantum yield; transition types in fluorescence; quantum efficiency and transition type, fluorescence and structure, effect of structural rigidity; fluoresce spectra, fluorescence excitation spectra, fluorescence emission spectra and three-dimensional fluorescence spectra; characteristic of fluorescence spectra, Stock’s shift; variables affecting fluorescence and phosphorescence;

20.2 fluorescence spectroscopy and application

Teaching Outline: Components of fluorometer and spectrofluorometers, sources, filters and monochromators, cells and cell components, detectors; Quantitative detection, relation between fluorescence intensity and concentration; direct and indirect measurements; fluorescence imaging

20.3 phosphorimetric spectroscopy

Teaching Outline: Low temperature and room temperature phosphorescence; phosphoremeter and applications

20.4 chemiluminescence analysis

Teaching Outline: Principle for chemiluminescence; types of chemiluminescence; measurement of chemiluminescence; application of chemiluminescence

Chapter 21 Infrared Absorption Spectroscopy

课时：2周，共6课时

Content

21.1 theory of IR absorption spectrometry

Teaching Outline: Dipole moment change during vibrations and rotations; rotation transitions, vibration-rotation transitions; types of molecular vibrations; mechanical model of a stretching vibration in a diatomic molecule; simple harmonic motion and anharmonic oscillator; IR absorption spectra

15.2 IR spectra and molecular structure

Teaching Outline: Group frequencies of functional groups; important spectral region in infrared; the fingerprint region; factors affecting group frequencies, adjacent groups, hydrogen bonding, vibration coupling; inductive and conjugated effect;

15.3 instrument for IR spectroscopy

Teaching Outline: Dispersive IR spectrometer, source, sample cell, monochromator, detectors; Fourier-transform infrared spectrometer and working mechanism; sample handling and pretreatment

15.4 application of IR spectroscopy

Teaching Outline: Qualitative application for structural analysis; calculation of the degree of unsaturation; verification of structural analysis; quantitative analysis

Chapter 22 nuclear Magnetic Resonance Spectroscopy

课时：2周，共6课时

Content

22.1 theory of NMR

Teaching Outline: Quantum description of NMR; energy level on a magnetic field, relaxation process in NMR, spin-lattice relaxation and spin-spin relaxation,

22.2 NMR instrument

Teaching Outline: Instrumentation, the magnet, the field sweep generator, the radio–frequency source, the signal detector and recorder system; sample handling

22.3 Chemical shift of proton in organic compounds;

Teaching Outline: Source of the chemical shift; environmental effect on the chemical shift of proton NMR, effect of electron, effect of magnetic anisotropy; spin-spin coupling and splitting; coupling constant and its relation with molecular structure; first-order spectra and their interpretation

22.4 application of NMR method

Teaching Outline: Identification of structure of organic compound

Chapter 23 mass Spectroscopy

课时：2周，共4课时

Content

23.1 Principles of mass spectrometer

Teaching Outline: Ion source, electron ionization, chemical ionization, field desorption, laser desorption, electrospary ionization; mass analyzer, double-focusing spectrometer, quadrupole mass spectrometer, time-of-flight analyzer, ion cyclotron resonance mass analyzer; signal detection and data processing; resolution of mass spectrometer

23.2 types of ions

Teaching Outline: The electron impact ionization process; molecular ion; isotope peaks, peaks for collision products, fragmentation patterns

23.3 organic compound structure and mass spectroscopy and application of mass spectroscopy

Teaching Outline: identification of structure of organic compounds; molecular weight determination; compound identification from comparison spectra; quantitative analysis, precision and accuracy; reaction mechanism; computerized library search system; analysis of mixture by hyphenated mass spectral methods

三、各章课时分配表

| 章序号 | 章内容 | 学时数 |
| --- | --- | --- |
| 13 | Introduction on chromatography | 3 |
| 14 | Gas Chromatography | 4 |
| 15 | High Performance Liquid Chromatography and Supercritical Fluidic Chromatography | 4 |
| 16 | introduction on spectroscopy | 6 |
| 17 | Atomic Emission Spectroscopy | 6 |
| 18 | Atomic Absorption Spectroscopy | 6 |
| 19 | Ultraviolet-Visible Absorption Spectroscopy | 6 |
| 20 | molecular Luminescence Spectroscopy | 3 |
| 21 | Infrared Absorption Spectroscopy | 6 |
| 22 | nuclear Magnetic Resonance Spectroscopy | 6 |
| 23 | mass Spectroscopy | 4 |
| 总 计 |  | 54 |

参考书目

# Gary D. Christian, Analytical Chemistry, Wiley; 6 edition (March 14, 2003)

# Douglas A. Skoog, Donald M. West, F. James Holler, Stanley R. Crouch, Fundamentals of Analytical Chemistry, Brooks Cole; 8 edition August 7, 2003)

# Robert Kellner, Jean-Michel Mermet, Matthias Otto, Miguel Valcarcel, H. Michael Widmer Analytical Chemistry: A Modern Approach to Analytical Science, Wiley-VCH; 2 edition (October 8, 2004)

执笔人：严吉林

2009 年 11 月 26 日